## Slide 1: EMG DECOMPOSITION
Mateo Umaguing

## Slide 2: INTRODUCTION
EMG decomposition is a signal processing method that decomposes an EMG signal into constituent motor unit action potentials (MUAPs) and classifies such MUAPs to individual motor units (MUs). We shall explore an analysis pipeline that aims to apply EMG decomposition to three separate EMG inputs.

## Slide 3: METHODOLOGY
Input file
Bandpass filter signal
Detect spikes with threshold
Align spikes to peak
Extract features using dimensionality reduction
Cluster spikes with K-means clustering
Classify spikes
Analyze spikes

## Slide 4: EMG Example 1, Channel 2

## Slide 5: INPUT FILE – SAMPLED AT 2000 HZ

## Slide 6: BANDPASS FILTER SIGNAL
Our selected passband is 20-500Hz. This was carefully selected to filter out movement artifacts at high frequencies and slow EMG waveforms at low frequencies.

## Slide 7: DETECT SPIKES WITH THRESHOLD
We will use a threshold based on an estimation of the signal noise in order to detect peaks. Any peak above this threshold will be considered a spike.

## Slide 8: ALIGN SPIKES TO PEAK
A window of length of 16 samples (8 ms) around each spike will be considered a MUAP, each of which will be saved into a n x 16 matrix of MUAPs.

## Slide 9: EXTRACT FEATURES WITH DIMENSIONALITY REDUCTION
We will then apply PCA to the matrix of MUAPs to get a 3 x 16 matrix, and for each MUAP, compute the PC coefficients. Each coefficient will be defined as the dot product of a principal component (1 x 16) and the MUAP.

## Slide 10: CLUSTER SPIKES WITH K-MEANS CLUSTERING
Next, we will cluster the spikes. The number of clusters will be the number of MUs, therefore we will choose k by observing the cost for different values of k. The best values are where an ‘elbow’ appears.

## Slide 11: CLUSTER SPIKES WITH K-MEANS CLUSTERING
An elbow formed at k = 4, therefore we shall use 4-means clustering.

## Slide 12: CLASSIFY SPIKES
We will look at the average spike for each cluster and plot every spike within the cluster.

## Slide 13: CLASSIFY SPIKES
We will look at the average spike for each cluster and plot every spike within the cluster.

## Slide 14: ANALYZE SPIKES
Here is the firing rate of each MU:

## Slide 15: ANALYZE SPIKES
For each MUAP average, we can observe the spike height and minima and maxima for first and second derivatives.

## Slide 16: ANALYZE SPIKES
For each MUAP average, we can observe the spike height and minima and maxima for first and second derivatives.

## Slide 17: ANALYZE SPIKES
We can also observe where each MU fires throughout the entire EMG signal.

## Slide 18: ANALYZE SPIKES
Here are the spike histograms – the counts of spikes within non-overlapping 200ms intervals across the EMG signal.

## Slide 19: ANALYZE SPIKES
Here are the spike histograms – the counts of spikes within non-overlapping 200ms intervals across the EMG signal.

## Slide 20: ANALYZE SPIKES
Lastly, we can observe the interspike intervals (ISIs), or time in between spikes.

## Slide 21: ANALYZE SPIKES
Lastly, we can observe the interspike intervals (ISIs), or time in between spikes.

## Slide 22: ANALYZE SPIKES
Lastly, we can observe the interspike intervals (ISIs), or time in between spikes.

## Slide 23: EMG Example 2, Channel 4

## Slide 24: INPUT FILE – SAMPLED AT 2000 HZ

## Slide 25: BANDPASS FILTER SIGNAL
Our selected passband is 20-500Hz. This was carefully selected to filter out movement artifacts at high frequencies and slow EMG waveforms at low frequencies.

## Slide 26: DETECT SPIKES WITH THRESHOLD
We will use a threshold based on an estimation of the signal noise in order to detect peaks. Any peak above this threshold will be considered a spike.

## Slide 27: ALIGN SPIKES TO PEAK
A window of length of 16 samples (8 ms) around each spike will be considered a MUAP, each of which will be saved into a n x 16 matrix of MUAPs.

## Slide 28: EXTRACT FEATURES WITH DIMENSIONALITY REDUCTION
We will then apply PCA to the matrix of MUAPs to get a 3 x 16 matrix, and for each MUAP, compute the PC coefficients. Each coefficient will be defined as the dot product of a principal component (1 x 16) and the MUAP.

## Slide 29: CLUSTER SPIKES WITH K-MEANS CLUSTERING
Next, we will cluster the spikes. The number of clusters will be the number of MUs, therefore we will choose k by observing the cost for different values of k. The best values are where an ‘elbow’ appears.

## Slide 30: CLUSTER SPIKES WITH K-MEANS CLUSTERING
An elbow formed at k = 4, therefore we shall use 4-means clustering.

## Slide 31: CLASSIFY SPIKES
We will look at the average spike for each cluster and plot every spike within the cluster.

## Slide 32: CLASSIFY SPIKES
We will look at the average spike for each cluster and plot every spike within the cluster.

## Slide 33: ANALYZE SPIKES
Here is the firing rate of each MU:

## Slide 34: ANALYZE SPIKES
For each MUAP average, we can observe the spike height and minima and maxima for first and second derivatives.

## Slide 35: ANALYZE SPIKES
For each MUAP average, we can observe the spike height and minima and maxima for first and second derivatives.

## Slide 36: ANALYZE SPIKES
We can also observe where each MU fires throughout the entire EMG signal.

## Slide 37: ANALYZE SPIKES
Here are the spike histograms – the counts of spikes within non-overlapping 200ms intervals across the EMG signal.

## Slide 38: ANALYZE SPIKES
Here are the spike histograms – the counts of spikes within non-overlapping 200ms intervals across the EMG signal.

## Slide 39: ANALYZE SPIKES
Lastly, we can observe the interspike intervals (ISIs), or time in between spikes.

## Slide 40: ANALYZE SPIKES
Lastly, we can observe the interspike intervals (ISIs), or time in between spikes.

## Slide 41: ANALYZE SPIKES
Lastly, we can observe the interspike intervals (ISIs), or time in between spikes.

## Slide 42: EMG Example 20s, Channel 1

## Slide 43: INPUT FILE – SAMPLED AT 2000 HZ

## Slide 44: BANDPASS FILTER SIGNAL
Our selected passband is 20-500Hz. This was carefully selected to filter out movement artifacts at high frequencies and slow EMG waveforms at low frequencies.

## Slide 45: DETECT SPIKES WITH THRESHOLD
We will use a threshold based on an estimation of the signal noise in order to detect peaks. Any peak above this threshold will be considered a spike.

## Slide 46: ALIGN SPIKES TO PEAK
A window of length of 16 samples (8 ms) around each spike will be considered a MUAP, each of which will be saved into a n x 16 matrix of MUAPs.

## Slide 47: EXTRACT FEATURES WITH DIMENSIONALITY REDUCTION
We will then apply PCA to the matrix of MUAPs to get a 3 x 16 matrix, and for each MUAP, compute the PC coefficients. Each coefficient will be defined as the dot product of a principal component (1 x 16) and the MUAP.

## Slide 48: CLUSTER SPIKES WITH K-MEANS CLUSTERING
Next, we will cluster the spikes. The number of clusters will be the number of MUs, therefore we will choose k by observing the cost for different values of k. The best values are where an ‘elbow’ appears.

## Slide 49: CLUSTER SPIKES WITH K-MEANS CLUSTERING
An elbow formed at k = 3, therefore we shall use 3-means clustering.

## Slide 50: CLASSIFY SPIKES
We will look at the average spike for each cluster and plot every spike within the cluster.

## Slide 51: CLASSIFY SPIKES
We will look at the average spike for each cluster and plot every spike within the cluster.

## Slide 52: ANALYZE SPIKES
Here is the firing rate of each MU:

## Slide 53: ANALYZE SPIKES
For each MUAP average, we can observe the spike height and minima and maxima for first and second derivatives.

## Slide 54: ANALYZE SPIKES
For each MUAP average, we can observe the spike height and minima and maxima for first and second derivatives.

## Slide 55: ANALYZE SPIKES
We can also observe where each MU fires throughout the entire EMG signal.

## Slide 56: ANALYZE SPIKES
Here are the spike histograms – the counts of spikes within non-overlapping 200ms intervals across the EMG signal.

## Slide 57: ANALYZE SPIKES
Here are the spike histograms – the counts of spikes within non-overlapping 200ms intervals across the EMG signal.

## Slide 58: ANALYZE SPIKES
Lastly, we can observe the interspike intervals (ISIs), or time in between spikes.

## Slide 59: ANALYZE SPIKES
Lastly, we can observe the interspike intervals (ISIs), or time in between spikes.

## Slide 60: ANALYZE SPIKES
Lastly, we can observe the interspike intervals (ISIs), or time in between spikes.